## Slide 1: Different Modalities in Imaging: An Overview
Amy Crane, DVM

## Slide 2: In This Lecture
Learn when to choose the appropriate modality
Understanding the difference between the different modalities available

## Slide 3: Basis
To create a radiograph, x-rays are passed through the patient and an image is recorded on a piece of radiographic film.
You have all seen them, and we will go into painful detail on this in future lectures.

## Slide 4: Best For
Screening test
Inexpensive (eg: $80 – $150.00 for 2 views)
No need (in general) for sedation or anesthesia
Non-painful
Able to look at whole body systems at once
Give the most information about areas that are similar in appearance on areas that are different?

## Slide 5: Best for continued
Areas that have the most radiographic contrast

## Slide 6: Diagnostic Radiology
Radiographs may not be as valuable at evaluating structures in the abdomen

## Slide 7: Disadvantages of Diagnostic Radiology
Exposure to ionizing radiation
–Superimposition of structures

## Slide 8: Terminology
We describe radiographs in terms of opacity

## Slide 9: Ultrasound
Also known as echo or sonogram
Becoming more and more popular in veterinary medicine
Cost of machinery is coming down, and many employers will expect you to be familiar with the equipment and function when you graduate

## Slide 10: Basis of Ultrasound
A piezoelectric crystal is used to generate sound waves which are not detectable to us or the animal

## Slide 11: Ultrasound is Best for
Used to look at soft tissues
Used extensively in large animal reproduction

## Slide 12: Disadvantages of Ultrasound
As stated previously, we cannot look at bone or gas filled structures
Cost: $400 and up on average for an abdominal exam
Cost is often determined by the expense of the equipment. Some machines cost upwards of $200,000. Machines in practice are generally around $20,000 to $80,000
Time: it often takes about an hour to complete an ultrasound exam

## Slide 13: Terminology for Ultrasound
We describe ultrasound images in terms of their echogenicity

## Slide 14: Nuclear Medicine
Also known as scintigraphy or “nuc med”
Used less frequently in veterinary medicine than the previous two modalities

## Slide 15: Basis for Nuclear Medicine
Radioactive agents (radiopharmaceuticals) are given to a patient

## Slide 16: Definitions on Nuclear Medicine
Scintillation:
Gamma:

## Slide 17: Defenitions cont.
Technetium (99m-TC)
This combination is called a radiopharmaceutical.

## Slide 18: Definitions cont.
Different radiopharmaceuticals are used for different tests
In general, the radiopharmaceutical localizes in a particular organ of interest depending on the examination

## Slide 19: Best use for Nuclear Medicine
Dozens of uses
Advent of CT, MRI, and ultrasound have rendered many obsolete
Some applications still are used quite frequently

## Slide 20: Disadvantages of Nuclear Medicine
Making a pet radioactive will most likely scare an owner
Equipment costs are high
Will not be available in general practice

## Slide 21: Terminology in Nuclear Medicine
Nuclear medicine images are described in terms of activity or accumulation

## Slide 22: Computed Tomography
Also known as CT or CAT Scan
Many referral centers now have CT capabilities

## Slide 23: Basis of CT
X-rays (just like in diagnostic radiology) are passed through the patient
The images consist of multiple slices

## Slide 24: Best use for CT
Any body part can be evaluated
In human medicine CT is often first line diagnostic imaging for things like appendicitis, acute head trauma, lung tumors
Since we have to anesthetize our patients, the use of CT is more limited. You don’t want to anesthetize a sick patient, and you don’t want to anesthetize a healthy one if you can avoid it!

## Slide 25: CT uses in Veterinary Medicine
Nasal cavity
Skull – tympanic bulla
Tumor staging
Some musculoskeletal conditions

## Slide 26: Disadvantages of CT
Anesthesia
Cost
Availability

## Slide 27: Terminology of CT
We describe CT images in terms of opacity

## Slide 28: Magnetic Resonance Imaging
Also known as MRI or MR
Newest, most advanced imaging modality
Usually only available at the largest referral centers
Used extensively in human medicine, and your clients may ask about it.

## Slide 29: Basis of MRI
The patient is placed in a large magnet, and radiofrequency pulses are administered to the patient
This process aligns the magnetic poles of the hydrogen molecules in the body, and then knock them down like a “weeble-wobble”

## Slide 30: Basis of MRI cont.
MRI uses the best contrast resolution of soft tissues of any of the modalities we have discussed
Can image flowing blood
Used to assess ligaments, and other soft tissues of the joints – does not image bone well

## Slide 31: Best use of MRI
Can image just about any soft tissue in the body

## Slide 32: Terminology in MRI
We describe MRI in terms of signal intensity